## SUM
90'x30' ONE STOREYED STEEL STRUCTURE SCHOOL BUILDING
ELECTRICAL ESTIMATE
SUMMARY
No | Particular | Material Cost | Labour Cost | Total
1 | Lightning Protestion System(Main Building) | 4071500 | 1061000 | 5132500
4 | Main Building | 5858950 | 2565080 | 8424030
| Grand Total |  |  | 13556530
|  | 9930450 | 3626080 | 13556530
|  |  | Say | 10000000

## L.A
90'x30' ONE STOREYED STEEL STRUCTURE SCHOOL BUILDING
LIGHTNING PROTECTION SYSTEM
Sr; No | Particular | Unit | Qty | Rate | Amount
MATERIALS
Lightning Protection System
1 | Lightning Finial ( Air Terminal )16mmø | No | 19 | 40000 | 760000
2 | Flast Base for Air Terminal (16mmø) | No | 19 | 10000 | 190000
3 | Earth Test Box | No | 19 | 12000 | 228000
4 | Copper Standard Conductor 50mm² | Lb | 340 | 6500 | 2210000
5 | Earth Spike ¾"ø x6' MS Rod | No | 19 | 7000 | 133000
6 | Earth plate 18"x18"x¼" | No | 19 | 24000 | 456000
7 | ¾"ø PVC Conduit pipe | Rft | 945 | 100 | 94500
| Total |  |  |  | 4071500
| Labour Charges |  |  |  | 1061000
YANGON UNIVERSITY OF EDUCATION FEMALE HOSTEL
LIGHTNING PROTECTION SYSTEM
Sr; No | Particular | Unit | Qty | Rate | Amount
Labour Charges
Lightning Protection System
1 | Labour charges for installation of Lightning Finial ( Air Terminal )16mmø | No | 19 | 15000 | 285000
2 | Labour charges for installation of Earth Test Box | No | 19 | 4000 | 76000
3 | Labour charges for install; of lightnion conductor with
| Copper Standard Conductor 50mm² | Rft | 1020 | 500 | 510000
4 | Labour charges for install; main earth with copper std wire bonded to Earth Spike ¾"ø x6' MS Rod | No | 19 | 10000 | 190000
| Total |  |  |  | 1061000

## G .F
90'x30' ONE STOREYED STEEL STRUCTURE SCHOOL BUILDING
Sr; No | Particular | Unit | Qty | Rate | Amount
MATERIALS
A | LIGHT FITTING
1 | Fluorescent Lamp fitting Ceiling Mounted
Complete Set ( Ordinary Type )
| (a) 4'-40W | Set | 126 | 4000 | 504000
2 | Security lamp with bulb | Set |  | 9500 | 0
3 | Supporting Materials | Item | 2 | 20000 | 40000
| Sub Total (A) |  |  |  | 544000
B | Switch & Switch Socket Outlet
1 | Gang Switch Flush Type
| (a) 1 Gang 1 Way | No | 0 | 1000 | 0
| (b) 2 Gang 1 Way | No | 38 | 2000 | 76000
2 | Switch & Socket Outlet flush type,Multi Socket 10A | No | 38 | 4500 | 171000
| Switch & Socket Outlet flush type,Multi Socket 15A | No | 10 | 5000 | 50000
3 | Supporting Materials | Item | 10 | 10000 | 100000
| Sub Total (B) |  |  |  | 397000
C | WIRE & CABLE
1 | PVC Insulated only wire
| (a ) 3/.029 | Coil | 29 | 17000 | 493000
| (b ) 3/.029 | Coil | 10 | 17000 | 170000
2 | LV Line to Main DB
| 7/,44Cu/PVC/PVC Cable | Coil | 19 | 90000 | 1710000
3 | Supporting Materials | Item | 10 | 10000 | 100000
| Sub Total (C) |  |  |  | 2473000
D | PVC , CONDUIT & ACCESSORIES
1 | PVC conduit Pipe
| (a ) ¾"ø | Rft | 2835 | 200 | 567000
| (b ) 1"ø | Rft | 945 | 250 | 236250
| (c ) 1½"ø | Rft | 189 | 400 | 75600
2 | Joint Box
| (a )3" x3" x1½" | No | 174 | 450 | 78300
| (b )4" x4" x1½" | No | 87 | 600 | 52200
3 | Supporting Materials | Item | 1 | 10000 | 10000
| Sub Total (D) |  |  |  | 1019350
E | Main Distribution Panel & Distribution Board
1 | For Main DB
| (a )2P ,30A MCB | No | 10 | 10000 | 100000
| (b )1P ,16A MCB | No | 38 | 2700 | 102600
2 | Plastic Distribution Box ,8 Way | No | 10 | 7500 | 75000
| Sub Total (E) |  |  |  | 277600
F | Earthing System
1 | Haed Drawn Bare Copper Wire No.2 | Lb | 142 | 6500 | 923000
90'x30' ONE STOREYED STEEL STRUCTURE SCHOOL BUILDING
Sr; No | Particular | Unit | Qty | Rate | Amount
2 | Earth Spike ¾"ø x6' MS Rod | No | 10 | 7000 | 70000
3 | Earth Test Box | No | 10 | 15500 | 155000
| Sub Total (F) |  |  |  | 1148000
| Total Materials Cost (A+B+C+D+E+F) |  |  |  | 5858950
| Labour Charges |  |  |  | 2565080
60'x30' ONE STOREYED STEEL STRUCTURE SCHOOL BUILDING
GROUND FLOOR
Sr; No | Particular | Unit | Qty | Rate | Amount
Labour Charges
A | LIGHT FITTING
1 | Install; of Fluorescent Lamp fitting
| (a) 4'-40W | Set | 126 | 2000 | 252000
3 | Install; of Security lamp with bulb | Set | 0 | 2000 | 0
4 | Install; of Exhaust Fan 10"ø | Set |  | 4200 | 0
| Sub Total (A) |  |  |  | 252000
B | Switch & Switch Socket Outlet
1 | Install; of Gang Switch Flush Type
| (a) 1 Gang 1 Way | No | 0 | 1500 | 0
| (b) 2 Gang 1 Way | No | 38 | 1500 | 57000
2 | Install; of Socket Outlet flush type,Multi Socket 10A | No | 38 | 1500 | 57000
3 | Install; of Socket Outlet flush type,Multi Socket 15A | No | 10 | 2000 | 20000
| Sub Total (B) |  |  |  | 134000
C | WIRE & CABLE
1 | Install; of PVC Insulated only wire
| (a ) 3/.029 | Rft | 8700 | 50 | 435000
| (b ) 3/.029 | Rft | 3000 | 60 | 180000
2 | LV Line to Main DB
| Install; 7/.044Cu/PVC/PVC Cable | Rft | 5700 | 110 | 627000
| Sub Total (C) |  |  |  | 1242000
D | PVC , CONDUIT & ACCESSORIES
1 | Install; of PVC conduit Pipe
| (a ) ¾"ø | Rft | 2835 | 110 | 311850
| (b ) 1"ø | Rft | 945 | 150 | 141750
| (c ) 1½"ø | Rft | 189 | 250 | 47250
2 | Install; of Joint Box
| (a )3" x3" x1½" | No | 22 | 60 | 1320
| (b )4" x4" x1½" | No | 11 | 60 | 660
| Sub Total (D) |  |  |  | 502830
E | Main Distribution Panel & Distribution Board
1 | For Main DB
| (a )2P ,40A ELCB | No | 3 | 2100 | 6300
| (b )1P ,16A MCB | No | 9 | 750 | 6750
| (c )1P ,10A MCB | No | 12 | 750 | 9000
2 | Install; of Plastic Distribution Box ,8 Way | No | 1 | 3200 | 3200
| Sub Total (E) |  |  |  | 25250
F | Earthing System
1 | Install; of Haed Drawn Bare Copper Wire No.2 | Rft | 568 | 500 | 284000
2 | Install; of main earth with Earth Spike ¾"ø x6' MS Rod | No | 10 | 12000 | 120000
3 | Install; of Earth Test Box | No | 1 | 5000 | 5000
60'x30' ONE STOREYED STEEL STRUCTURE SCHOOL BUILDING
GROUND FLOOR
Sr; No | Particular | Unit | Qty | Rate | Amount
| Sub Total (F) |  |  |  | 409000
| Total Labour Cost (A+B+C+D+E+F) |  |  |  | 2565080

## M+L
90' x 30' x 12'Ht; 1 Storyed Steel Structure
Electrical Summary
No | Particular | Amount
1 | Material Cost | 9930450 | 1800 | 1800000 | 270000 | 6840000
2 | Labour Cost | 3626080 | 2979135
| Total Amount | 13556530 | 7531.4056 | 23400000 | -9843470
13000